## Master List
Category | Item | Licensure Level
Vehicle Condition - Critical Items
Vehicle Condition - Critical Items | Current DMV Registration | Required at all levels
Vehicle Condition - Critical Items | Current DMV Inspection | Required at all levels
Vehicle Condition - Critical Items | Current Red Light Permit | Required at all levels
Vehicle Condition - Critical Items | Current Insurance Coverage | Required at all levels
Vehicle Condition - Critical Items | Ambulance starts and operates in Drive and Reverse | Required at all levels
Vehicle Condition - Critical Items | Body and sheet metal in satisfactory condition | Required at all levels
Vehicle Condition - Critical Items | Clean and Orderly - Patient Compartment and Cab | Required at all levels
Vehicle Condition - Critical Items | Exterior Compartment Doors Functional | Required at all levels
Vehicle Condition - Critical Items | Interior Cabinet Doors Functional | Required at all levels
Vehicle Condition - Critical Items | Patient Compartment and Cab Entry Doors Functional | Required at all levels
Vehicle Condition - Critical Items | Emergency Lights Operational - Front Light Bar | Required at all levels
Vehicle Condition - Critical Items | Emergency Lights Operational - Rear Light Bar | Required at all levels
Vehicle Condition - Critical Items | Emergency Lights Operational - Side/Rear Panels | Required at all levels
Vehicle Condition - Critical Items | Siren / Horn Functional | Required at all levels
| Backup Alarm Function | Required at all levels
Vehicle Condition - Critical Items | Turn Signals Functional | Required at all levels
Vehicle Condition - Critical Items | Headlights Functional | Required at all levels
Vehicle Condition - Critical Items | Taillights Functional | Required at all levels
Vehicle Condition - Critical Items | Items Heavier than 5 Pounds Secured | Required at all levels
Critical Equipment and Supplies
Critical Equipment and Supplies | Access to Pediatric/Adult Patient Care Protocols | Required at all levels
Critical Equipment and Supplies | Automated External Defibrillator / Monitor | Required at all levels
Critical Equipment and Supplies | AED Cables | Required at all levels
Critical Equipment and Supplies | AED Pads - Adult and Pediatric | Required at all levels
Critical Equipment and Supplies | 12-Lead Capability | Required at all levels
Critical Equipment and Supplies | Oxygen Tank & Regulator - Fixed | Required at all levels
Critical Equipment and Supplies | Oxygen Tank & Regulator - Portable | Required at all levels
Critical Equipment and Supplies | Portable Oxygen Secured | Required at all levels
Critical Equipment and Supplies | Two-Way Communication Device | Required at all levels
Critical Equipment and Supplies | Fire Extinguisher (Current Inspection) | Required at all levels
Critical Equipment and Supplies | Sharps Container - Fixed | Required at all levels
Critical Equipment and Supplies | Wheeled Cot - Functional & Secured | Required at all levels
Critical Equipment and Supplies | Age/Weight Appropriate Pediatric Restraint Device | Required at all levels
Critical Equipment and Supplies | Transcutaneous Cardiac Pacemaker Capability | Required at the Paramedic Level
Emergency Lighting
Emergency Lighting | Corner Lights Functional | Required at all levels
Emergency Lighting | Scene Lights Functional | Required at all levels
Emergency Lighting | Grill Lights Functional | Required at all levels
Emergency Lighting | Headlight Wig-Wags Functional (if present) | Required at all levels
Bandages / Dressings
Bandages / Dressings | Sterile Burn Sheets | Required at all levels
Bandages / Dressings | Triangular Bandages | Required at all levels
Bandages / Dressings | Abdominal Pads (10" x 12" or larger) | Required at all levels
Bandages / Dressings | 4x4 Gauze Sponges (or other sizes) | Required at all levels
Bandages / Dressings | Trauma Dressings | Required at all levels
Bandages / Dressings | Gauze Rolls (Various Sizes) | Required at all levels
Bandages / Dressings | Sterile Occlusive Dressings (3" x 8" or larger) | Required at all levels
Bandages / Dressings | Adhesive Tape - Hypoallergenic (Various Sizes) | Required at all levels
Bandages / Dressings | Arterial Tourniquet (Commercial) | Required at all levels
Bandages / Dressings | Hemostatic Dressings (e.g., Combat Gauze) | Required at all levels
Obstetrical
Obstetrical | Sealed Obstetrical Kit | Required at all levels
Obstetrical | Infant Suction Bulb | Required at all levels
Obstetrical | Infant Thermal Absorbent Blanket (Heat Reflective) | Required at all levels
Obstetrical | Infant Head Cover | Required at all levels
Infection Control
Infection Control | Eye Protection | Required at all levels
Infection Control | Shoe / Boot Covers | Required at all levels
Infection Control | Face Shield | Required at all levels
Infection Control | Gloves (Non-Sterile) | Required at all levels
Infection Control | Coveralls or Gowns (impermiable with head cover) | Required at all levels
Infection Control | Waterless Hand Cleaner (Commercial Antimicrobial) | Required at all levels
Infection Control | Disinfectant Solution for Cleaning Equipment | Required at all levels
Infection Control | Sharps Container (Portable) | Required at all levels
Infection Control | Trash Bags for Bio-Hazard Waste (Color-Coded / Emblem) | Required at all levels
Infection Control | N95 Respiratory Protection | Required at all levels
Ventilation / Airway
Ventilation / Airway | Rigid Suction Catheters | Required at all levels
Ventilation / Airway | Flexible Suction Catheter (at least one between 6F - 10F) | Required at all levels
Ventilation / Airway | Flexible Suction Catheter (at least one between 12F - 16F) | Required at all levels
Ventilation / Airway | Oxygen Mask (NRB or Valveless) - Adult, | Required at all levels
Ventilation / Airway | Oxygen Mask (NRB or Valveless) - Child | Required at all levels
Ventilation / Airway | Oxygen Mask (NRB or Valveless) - Infant | Required at all levels
Ventilation / Airway | Suction - Portable | Required at all levels
Ventilation / Airway | Suction - Fixed Unit | Required at all levels
Ventilation / Airway | Suction Tubing | Required at all levels
Ventilation / Airway | Nasal Cannulas - Adult | Required at all levels
Ventilation / Airway | Nasal Cannulas - Child | Required at all levels
Ventilation / Airway | Oxygen Supply Tubing | Required at all levels
Ventilation / Airway | Pulse Oximeter with Probes - Adult | Required at all levels
Ventilation / Airway | Pulse Oximeter with Probes - Pediatric | Required at all levels
Ventilation / Airway | Bag Valve Mask Device with O2 Reservoir - Adult | Required at all levels
Ventilation / Airway | Bag Valve Mask Device with O2 Reservoir - Child | Required at all levels
Ventilation / Airway | BVM Mask - Adult | Required at all levels
Ventilation / Airway | BVM Mask - Child | Required at all levels
Ventilation / Airway | BVM Mask - Infant | Required at all levels
Ventilation / Airway | BVM Mask - Neonate | Required at all levels
Ventilation / Airway | Oropharyngeal Airways - Sizes 0 - 5 | Required at all levels
Ventilation / Airway | Nasopharyngeal Airways - Sized 12F - 34F | Required at all levels
Ventilation / Airway | CPAP with Mask and Tubing | Required at the AEMT Level
Ventilation / Airway | Quantitative Waveform Capnography | Required at the AEMT Level
Ventilation / Airway | EtCO2 Monitoring Device | Required at the AEMT Level
Ventilation / Airway | Surpaglottic Airway Device: iGel 1-5 / King LTD 0-5 / LMA 1-6 / Other | Required at the AEMT Level
Ventilation / Airway | Laryngoscope Handles - Adult and Pediatric | Required at the Paramedic Level
Ventilation / Airway | Extra Laryngoscope Bulbs and Batteries | Required at the Paramedic Level
Ventilation / Airway | Laryngoscope Blades - Miller sizes 0-5 / MacIntosh sizes 1-4 | Required at the Paramedic Level
Ventilation / Airway | Endotracheal Tubes (2 sets) - Cuffed or Uncuffed Sizes 2.5 - 5.0 | Required at the Paramedic Level
Ventilation / Airway | Endotracheal Tubes (2 sets) - Cuffed Sizes 6.0 - 8.0 | Required at the Paramedic Level
Ventilation / Airway | Stylettes for Endotracheal Tubes - Adult and Pediatric | Required at the Paramedic Level
Ventilation / Airway | Percutaneous Cricothyrotomy Kit (Commercial) | Required at the Paramedic Level
Ventilation / Airway | Surgical Crycothyrotomy Kit (Optional with Training) | Required at the Paramedic Level
Ventilation / Airway | BiPAP (Optional) | Required at the Paramedic Level
Ventilation / Airway | Syringes - 10ml | Required at the Paramedic Level
Ventilation / Airway | Magill (Rovenstein) Forceps - Adult and Pediatric | Required at the Paramedic Level
Ventilation / Airway | Gum Elastic Bougie | Required at the Paramedic Level
Medications
Medications | Aspirin | Required at all levels
Medications | Epi (1:1,000) Auto-Injector - Adult (or Ready/Check/Inject Kit) | Required at all levels
Medications | Epi (1:1,000) Auto-Injector - Pediatric (or Ready/Check/Inject Kit) | Required at all levels
Medications | Pure Vermont Maple Syrup (or Oral Glucose) | Required at all levels
Medications | Naloxone (Intranasal) | Required at all levels
Medications | Naloxone (IV/IM/IO/SQ) | Required at the AEMT Level
Medications | Nitroglycerin | Required at the AEMT Level
Medications | Ondansetron (ODT) | Required at the AEMT Level
Medications | Albuterol /DuoNeb | Required at the AEMT Level
Medications | D10 (or D50) | Required at the AEMT Level
Medications | Glucagon | Required at the AEMT Level
Medications | Epinephrine (1:1,000 & 1:10,000) | Required at the AEMT Level
Medications | Paramedic Medications, per Current State Protocols | Required at the Paramedic Level
Vascular Access
Vascular Access | IV Tourniquet - Latex Free | Required at the AEMT Level
Vascular Access | Isotonic Crystalloid Solutions (0.9% NaCl, etc.) - 4 liters (bags, not bottles) | Required at the AEMT Level
Vascular Access | Antiseptic Solution | Required at the AEMT Level
Vascular Access | IV Pole or Roof Hook | Required at the AEMT Level
Vascular Access | Intravenous Arm Board - Adult and Pediatric | Required at the AEMT Level
Vascular Access | Intravenous Catheters - Sizes 14G - 24G | Required at the AEMT Level
Vascular Access | Intraosseous Access Needles & Devices - Adult and Pediatric | Required at the AEMT Level
Vascular Access | Syringes - Various Sizes | Required at the AEMT Level
Vascular Access | Needles Suitable for IM Injection - Various Sizes | Required at the AEMT Level
Vascular Access | Intravenous Administration Sets | Required at the AEMT Level
Vascular Access | Intravenous Administration Sets - Microdrip* & Macrodrip *Microdrip not required if medication pump is present | Required at the Paramedic Level
Vascular Access | IV Pump (if Using Pressors) | Required at the Paramedic Level
Immobilization Devices
Immobilization Devices | Rigid Collar - Child (Under 2 Years) | Required at all levels
Immobilization Devices | Rigid Collar - Small | Required at all levels
Immobilization Devices | Rigid Collar - Medium | Required at all levels
Immobilization Devices | Rigid Collar - Large | Required at all levels
Immobilization Devices | Upper / Lower Extremity Immobilization Devices | Required at all levels
Other Required Items
Other Required Items | Atomizer | Required at all levels
Other Required Items | Warming Blanket | Required at all levels
Other Required Items | Glucometer and Test Strips | Required at all levels
Other Required Items | Blood Pressure Cuff - Adult | Required at all levels
Other Required Items | Blood Pressure Cuff - Child | Required at all levels
Other Required Items | Stethescope | Required at all levels
Other Required Items | Trauma Scissors | Required at all levels
Other Required Items | Length/Weight Based Pediatric Dosing Reference | Required at all levels
Other Required Items | Cold Packs | Required at all levels
Other Required Items | Hot Packs | Required at all levels
Other Required Items | Sterile Saline Solution for Irrigation | Required at all levels
Other Required Items | Thermometer (Low Temperature Capability) | Required at all levels
Other Required Items | Emesis Bags or Basins (Disposable) | Required at all levels
Other Required Items | Urinal (Disposable) | Required at all levels
Other Required Items | Linens (Blankets, Sheets, Pillows, Towels) | Required at all levels
Other Required Items | Soft Patient Restraints (Commercial) | Required at all levels
Other Required Items | Stair Chair or Carry Chair | Required at all levels
Other Required Items | Lubricating Jelly (Water Soluble) | Required at all levels
Other Required Items | SALT-Compatible Triage Tags | Required at all levels
Other Required Items | Hazardous Materials Reference Guide | Required at all levels
Other Required Items | Reflective Safety Wear | Required at all levels
Other Required Items | Flashlights (2) with Spare Bulbs and Batteries | Required at all levels
Other Required Items | Nebulizer | Required at the AEMT Level
Other Required Items | Chest Decompression Needle (Minimum 3-1/4" in length) | Required at the Paramedic Level
Other Required Items | Morgan Lenses | Required at the Paramedic Level
This shape represents a table slicer. Table slicers are not supported in this version of Excel.
If the shape was modified in an earlier version of Excel, or if the workbook was saved in Excel 2007 or earlier, the slicer can't be used.
This shape represents a table slicer. Table slicers are not supported in this version of Excel.
If the shape was modified in an earlier version of Excel, or if the workbook was saved in Excel 2007 or earlier, the slicer can't be used.

## Vehicle Condition (Critical)
Vehicle Condition - Critical Items
Required at all levels
Current DMV Registration | Required at the AEMT Level
Current DMV Inspection | Required at the Paramedic Level
Current Red Light Permit
Current Insurance Coverage
Ambulance starts and operates in Drive and Reverse
Body and sheet metal in satisfactory condition
Clean and Orderly - Patient Compartment and Cab
Exterior Compartment Doors Functional
Interior Cabinet Doors Functional
Patient Compartment and Cab Entry Doors Functional
Emergency Lights Operational - Front Light Bar
Emergency Lights Operational - Rear Light Bar
Emergency Lights Operational - Side/Rear Panels
Siren / Horn Functional
Turn Signals Functional
Headlights Functional
Taillights Functional
Items Heavier than 5 Pounds Secured

## Critical Equipment & Supplies
Critical Equipment and Supplies
Access to Pediatric/Adult Patient Care Protocols | Required at all levels
Automated External Defibrillator / Monitor | Required at the AEMT Level
AED Cables | Required at the Paramedic Level
AED Pads - Adult and Pediatric
12-Lead Capability
Oxygen Tank & Regulator - Fixed
Oxygen Tank & Regulator - Portable
Portable Oxygen Secured
Two-Way Communication Device
Fire Extinguisher (Current Inspection)
Sharps Container - Fixed
Wheeled Cot - Functional & Secured
Age/Weight Appropriate Pediatric Restraint Device
Transcutaneous Cardiac Pacemaker Capability

## Emergency Lighting
Emergency Lighting
Corner Lights Functional
Scene Lights Functional | Required at all levels
Grill Lights Functional | Required at the AEMT Level
Headlight Wig-Wags Functional (if present) | Required at the Paramedic Level

## Bandages & Dressings
Bandages / Dressings
Sterile Burn Sheets
Triangular Bandages | Required at all levels
Abdominal Pads (10" x 12" or larger) | Required at the AEMT Level
4x4 Gauze Sponges (or other sizes) | Required at the Paramedic Level
Trauma Dressings
Gauze Rolls (Various Sizes)
Sterile Occlusive Dressings (3" x 8" or larger)
Adhesive Tape - Hypoallergenic (Various Sizes)
Arterial Tourniquet (Commercial)
Hemostatic Dressings (e.g., Combat Gauze)

## Obstetrical
Obstetrical
Sealed Obstetrical Kit
Infant Suction Bulb | Required at all levels
Infant Thermal Absorbent Blanket (Heat Reflective) | Required at the AEMT Level
Infant Head Cover | Required at the Paramedic Level

## Infection Control
Infection Control
Eye Protection
Shoe / Boot Covers | Required at all levels
Face Shield | Required at the AEMT Level
Gloves (Non-Sterile) | Required at the Paramedic Level
Coveralls or Gowns (impermiable with head cover)
Waterless Hand Cleaner (Commercial Antimicrobial)
Disinfectant Solution for Cleaning Equipment
Sharps Container (Portable)
Trash Bags for Bio-Hazard Waste (Color-Coded / Emblem)
N95 Respiratory Protection

## Ventilation & Airway
Ventilation / Airway
Rigid Suction Catheters
Flexible Suction Catheter (at least one between 6F - 10F) | Required at all levels
Flexible Suction Catheter (at least one between 12F - 16F) | Required at the AEMT Level
Oxygen Mask (NRB or Valveless) - Adult, | Required at the Paramedic Level
Oxygen Mask (NRB or Valveless) - Child
Oxygen Mask (NRB or Valveless) - Infant
Suction - Portable
Suction - Fixed Unit
Suction Tubing
Nasal Cannulas - Adult
Nasal Cannulas - Child
Oxygen Supply Tubing
Pulse Oximeter with Probes - Adult
Pulse Oximeter with Probes - Pediatric
Bag Valve Mask Device with O2 Reservoir - Adult
Bag Valve Mask Device with O2 Reservoir - Child
BVM Mask - Adult
BVM Mask - Child
BVM Mask - Infant
BVM Mask - Neonate
Oropharyngeal Airways - Sizes 0 - 5
Nasopharyngeal Airways - Sized 12F - 34F
CPAP with Mask and Tubing
Quantitative Waveform Capnography
EtCO2 Monitoring Device
Surpaglottic Airway Device: iGel 1-5 / King LTD 0-5 / LMA 1-6 / Other
Laryngoscope Handles - Adult and Pediatric
Extra Laryngoscope Bulbs and Batteries
Laryngoscope Blades - Miller sizes 0-5 / MacIntosh sizes 1-4
Endotracheal Tubes (2 sets) - Cuffed or Uncuffed Sizes 2.5 - 5.0
Endotracheal Tubes (2 sets) - Cuffed Sizes 6.0 - 8.0
Stylettes for Endotracheal Tubes - Adult and Pediatric
Percutaneous Cricothyrotomy Kit (Commercial)
Surgical Crycothyrotomy Kit (Optional with Training)
BiPAP (Optional)
Syringes - 10ml
Magill (Rovenstein) Forceps - Adult and Pediatric
Gum Elastic Bougie

## Medications
Medications
Aspirin
Epi (1:1,000) Auto-Injector - Adult (or Ready/Check/Inject Kit) | Required at all levels
Epi (1:1,000) Auto-Injector - Pediatric (or Ready/Check/Inject Kit) | Required at the AEMT Level
Pure Vermont Maple Syrup (or Oral Glucose) | Required at the Paramedic Level
Naloxone (Intranasal)
Naloxone (IV/IM/IO/SQ)
Nitroglycerin
Ondansetron (ODT)
Albuterol /DuoNeb
D10 (or D50)
Glucagon
Epinephrine (1:1,000 & 1:10,000)
Paramedic Medications, per Current State Protocols

## Vascular Access
Vascular Access
IV Tourniquet - Latex Free
Isotonic Crystalloid Solutions (0.9% NaCl, etc.) - 4 liters (bags, not bottles) | Required at all levels
Antiseptic Solution | Required at the AEMT Level
IV Pole or Roof Hook | Required at the Paramedic Level
Intravenous Arm Board - Adult and Pediatric
Intravenous Catheters - Sizes 14G - 24G
Intraosseous Access Needles & Devices - Adult and Pediatric
Syringes - Various Sizes
Needles Suitable for IM Injection - Various Sizes
Intravenous Administration Sets
Intravenous Administration Sets - Microdrip* & Macrodrip
*Microdrip not required if medication pump is present
IV Pump (if Using Pressors)

## Immobilization Devices
Immobilization Devices
Rigid Collar - Child (Under 2 Years) | Required at all levels
Rigid Collar - Small | Required at the AEMT Level
Rigid Collar - Medium | Required at the Paramedic Level
Rigid Collar - Large
Upper / Lower Extremity Immobilization Devices

## Other Required Items
Other Required Items
Atomizer
Warming Blanket | Required at all levels
Glucometer and Test Strips | Required at the AEMT Level
Blood Pressure Cuff - Adult | Required at the Paramedic Level
Blood Pressure Cuff - Child
Stethescope
Trauma Scissors
Length/Weight Based Pediatric Dosing Reference
Cold Packs
Hot Packs
Sterile Saline Solution for Irrigation (1 liter units)
Thermometer (Low Temperature Capability)
Emesis Bags or Basins (Disposable)
Urinal (Disposable)
Linens (Blankets, Sheets, Pillows, Towels)
Soft Patient Restraints (Commercial)
Stair Chair or Carry Chair
Lubricating Jelly (Water Soluble)
SALT-Compatible Triage Tags
Hazardous Materials Reference Guide
Reflective Safety Wear
Flashlights (2) with Spare Bulbs and Batteries
Nebulizer
Chest Decompression Needle (Minimum 3-1/4" in length)
Morgan Lenses